Decontamination of TRM Medi Visor

(Royal Mint Produced)

* After doffing, wash visor with a cloth and diluted Actichlor (1 tablet/litre of water).
* All areas of the mask to be cleaned, including straps and foam padding.
* Actichlor contact time must be a **MINIMU**M of 5 **MINUTES**. If you are going for a break, decontaminate your visor and leave it to air dry in the designated drying space. If the visor is in a hot area and dries in under 5 minutes it will need to be rewashed with Actichlor.
* Cloths within the Actichlor bowl used for cleaning should be changed regularly, but not necessarily after every use (unless soiled).
* Once the visor is air dry and ready to use again, it needs to be wiped down with water. This is to avoid eye irritation from the Actichlor.
* Foam padding may become loose from moisture during decontamination process. **DO NOT** try to reattach with double sided sticky tape or sleek, the visor must be discarded.